## PM2.5
Peak 1 - ug/m3 | [7 empty] | Accuracy | Grade B
Time | Reference | Avg | No.1 | No.2 | No.3 | No.4 | No.5 | 0-150 | ±5 && 15%
2021-08-01 10:30 | 16 | 21.7528 | 27.671 | 22.4 | 21.022 | 13.267 | 24.404 | 150-500 | ±5 && 20%
Percent Difference to Avg |  |  | 23.95% | 2.932% | -3.417% | -48.46% | 11.49%
Avg Pass/Fail |  |  | PASS | PASS | PASS | FAIL | PASS
Percent Difference to Reference |  |  | 53.45% | 33.33% | 27.13% | -18.68% | 41.6%
Reference Within/Outside Scope |  |  | Outside | Within | Within | Within | Outside
Peak 2 - ug/m3 | [7 empty] | PM2.5 | No.1 | No.2 | No.3 | No.4 | No.5
Time | Reference | Avg | No.1 | No.2 | No.3 | No.4 | No.5 | Avg - Trend | PASS | PASS | PASS | PASS | PASS
2021-08-08 07:30 | 18 | 18.6062 | 30.545 | 24.842 | 22.834 | 14.81 |  | Avg – Within Range | FAIL | PASS | PASS | FAIL | FAIL
Percent Difference to Avg |  |  | 48.58% | 28.7% | 20.4% | -22.72% | -200% | Reference - Trend | PASS | PASS | PASS | PASS | PASS
Avg Pass/Fail |  |  | FAIL | PASS | PASS | PASS | FAIL | Reference – Within/Outside Scope | Outside | Within | Within | Within | Outside
Percent Difference to Reference |  |  | 51.68% | 31.94% | 23.68% | -19.45% | -200%
Reference Within/Outside Scope |  |  | Outside | Within | Within | Within | Outside
Peak 3 - ug/m3
Time | Reference | Avg | No.1 | No.2 | No.3 | No.4 | No.5
2021-08-15 08:00 | 50 | 55.5262 | 61.496 | 55.992 | 55.168 | 47.105 | 57.87
Percent Difference to Avg |  |  | 10.2% | 0.8354% | -0.6472% | -16.41% | 4.134%
Avg Pass/Fail |  |  | PASS | PASS | PASS | PASS | PASS
Percent Difference to Reference |  |  | 20.62% | 11.31% | 9.828% | -5.963% | 14.59%
Reference Within/Outside Scope |  |  | Within | Within | Within | Within | Within

## TVOC
Peak 1 - ppb | [7 empty] | Accuracy (ug/m3) | Grade B
Time | Reference | Avg | No.1 | No.2 | No.3 | No.4 | No.5 | 150-600 | ±20 && 15%
2021-08-02 11:00 | 400 | 180 | 300 | 300 |  |  | 300 | 600-2000 | ±20 && 20%
Percent Difference to Avg |  |  | 50% | 50% | -200% | -200% | 50%
Avg Pass/Fail |  |  | FAIL | FAIL | FAIL | FAIL | FAIL | Accuracy (ppb) | Grade B
Percent Difference to Reference |  |  | -28.57% | -28.57% | -200% | -200% | -28.57% | 65-260 | ±8.7 && 15%
Reference Within/Outside Scope |  |  | Outside | Outside | Outside | Outside | Outside | 440 - 2180 | ±8.7 && 20%
Peak 2 - ppb | [7 empty] | TVOC | No.1 | No.2 | No.3 | No.4 | No.5
Time | Reference | Avg | No.1 | No.2 | No.3 | No.4 | No.5 | Avg - Trend | PASS | PASS | PASS | PASS | PASS
2021-08-09 04:00 | 280 | 218.5066 | 300 | 300 | 247.667 |  | 244.866 | Avg – Within Range | FAIL | FAIL | FAIL | FAIL | FAIL
Percent Difference to Avg |  |  | 31.43% | 31.43% | 12.51% | -200% | 11.38% | Reference - Trend | PASS | PASS | PASS | PASS | PASS
Avg Pass/Fail |  |  | FAIL | FAIL | PASS | FAIL | PASS | Reference – Within/Outside Scope | Outside | Outside | Outside | Outside | Outside
Percent Difference to Reference |  |  | 6.897% | 6.897% | -12.26% | -200% | -13.39%
Reference Within/Outside Scope |  |  | Within | Within | Within | Outside | Within
Peak 3 - ppb
Time | Reference | Avg | No.1 | No.2 | No.3 | No.4 | No.5
2021-08-11 14:30 | 400 | 240 | 300 | 300 | 300 |  | 300
Percent Difference to Avg |  |  | 22.22% | 22.22% | 22.22% | -200% | 22.22%
Avg Pass/Fail |  |  | FAIL | FAIL | FAIL | FAIL | FAIL
Percent Difference to Reference |  |  | -28.57% | -28.57% | -28.57% | -200% | -28.57%
Reference Within/Outside Scope |  |  | Outside | Outside | Outside | Outside | Outside

## CO2
Peak 1 - ppm | [7 empty] | Accuracy | Grade B
Time | Reference | Avg | No.1 | No.2 | No.3 | No.4 | No.5 | 400-2000 | ±50 && 3%
2021-08-02 11:00 | 1611 | 1759.1912 | 1546.365 | 2025.727 | 1779.261 | 1775.895 | 1668.708 | 2000-5000 | ±50 && 5%
Percent Difference to Avg |  |  | -12.88% | 14.08% | 1.134% | 0.945% | -5.279%
Avg Pass/Fail |  |  | FAIL | FAIL | PASS | PASS | PASS
Percent Difference to Reference |  |  | -4.094% | 22.81% | 9.926% | 9.737% | 3.519%
Reference Within/Outside Scope |  |  | Within | Outside | Outside | Outside | Within
Peak 2 - ppm | [7 empty] | CO2 | No.1 | No.2 | No.3 | No.4 | No.5
Time | Reference | Avg | No.1 | No.2 | No.3 | No.4 | No.5 | Avg - Trend | PASS | PASS | PASS | PASS | PASS
2021-08-09 09:30 | 1867 | 2018.3432 | 1799.132 | 2304.045 | 2028.157 | 2037.234 | 1923.148 | Avg – Within Range | FAIL | FAIL | PASS | PASS | PASS
Percent Difference to Avg |  |  | -11.48% | 13.22% | 0.4851% | 0.9316% | -4.83% | Reference - Trend | PASS | PASS | PASS | PASS | PASS
Avg Pass/Fail |  |  | FAIL | FAIL | PASS | PASS | PASS | Reference – Within/Outside Scope | Within | Outside | Outside | Outside | Within
Percent Difference to Reference |  |  | -3.702% | 20.96% | 8.275% | 8.72% | 2.963%
Reference Within/Outside Scope |  |  | Within | Outside | Outside | Outside | Within
Peak 3 - ppm
Time | Reference | Avg | No.1 | No.2 | No.3 | No.4 | No.5
2021-08-15 05:00 | 1409 | 1560.041 | 1343.459 | 1839.842 | 1573.191 | 1576.464 | 1467.249
Percent Difference to Avg |  |  | -14.92% | 16.46% | 0.8394% | 1.047% | -6.13%
Avg Pass/Fail |  |  | FAIL | FAIL | PASS | PASS | PASS
Percent Difference to Reference |  |  | -4.762% | 26.52% | 11.01% | 11.22% | 4.05%
Reference Within/Outside Scope |  |  | Within | Outside | Outside | Outside | Within

## Temp
Peak 1 - °C | [8 empty] | Grade B
Time | Reference | Avg | No.1 | No.2 | No.3 | No.4 | No.5 | Accuracy | ±1
2021-08-03 10:30 | 26.7 | 29.4018 | 31.596 | 30.919 | 28.849 | 25.589 | 30.056
Difference to Avg |  |  | 2.1942 | 1.5172 | -0.5528 | -3.8128 | 0.6542
Difference to Reference |  |  | 4.896 | 4.219 | 2.149 | -1.111 | 3.356
Peak 2 -°C | [7 empty] | Temperature | No.1 | No.2 | No.3 | No.4 | No.5
Time | Reference | Avg | No.1 | No.2 | No.3 | No.4 | No.5 | Avg - Trend | PASS | PASS | PASS | PASS | PASS
2021-08-07 07:30 | 27.7 | 30.1896 | 32.385 | 31.585 | 29.651 | 26.369 | 30.958 | Avg – Within Range | FAIL | FAIL | PASS | FAIL | PASS
Difference to Avg |  |  | 2.1954 | 1.3954 | -0.5386 | -3.8206 | 0.7684 | Reference - Trend | PASS | PASS | PASS | PASS | PASS
Difference to Reference |  |  | 4.685 | 3.885 | 1.951 | -1.331 | 3.258 | Reference – Within/Outside Scope | Outside | Outside | Outside | Outside | Outside
Peak 3 -°C
Time | Reference | Avg | No.1 | No.2 | No.3 | No.4 | No.5
2021-08-12 15:00 | 26.7 | 28.7736 | 30.982 | 30.283 | 28.235 | 24.922 | 29.446
Difference to Avg |  |  | 2.2084 | 1.5094 | -0.5386 | -3.8516 | 0.6724
Difference to Reference |  |  | 4.282 | 3.583 | 1.535 | -1.778 | 2.746

## Hum
Peak 1 - %RH | [8 empty] | Grade B
Time | Reference | Avg | No.1 | No.2 | No.3 | No.4 | No.5 | Accuracy | ±8%
2021-08-03 01:00 | 66.17 | 69.1882 | 71.288 | 63.206 | 70.944 | 69.057 | 71.446
Percent Difference to Avg |  |  | 2.99% | -9.037% | 2.506% | -0.1898% | 3.211%
Percent Difference to Reference |  |  | 7.447% | -4.582% | 6.964% | 4.27% | 7.668%
Peak 2 - %RH | [7 empty] | Relative Humidity | No.1 | No.2 | No.3 | No.4 | No.5
Time | Reference | Avg | No.1 | No.2 | No.3 | No.4 | No.5 | Avg - Trend | PASS | PASS | PASS | PASS | PASS
2021-08-08 07:30 | 65.68 | 68.71 | 70.712 | 62.621 | 70.538 | 68.594 | 71.085 | Avg – Within Range | PASS | FAIL | PASS | PASS | PASS
Percent Difference to Avg |  |  | 2.872% | -9.273% | 2.626% | -0.169% | 3.398% | Reference - Trend | PASS | PASS | PASS | PASS | PASS
Percent Difference to Reference |  |  | 7.379% | -4.768% | 7.133% | 4.34% | 7.904% | Reference – Within/Outside Scope | Within | Within | Within | Within | Within
Peak 3 - %RH
Time | Reference | Avg | No.1 | No.2 | No.3 | No.4 | No.5
2021-08-15 08:30 | 65.2 | 68.2312 | 70.307 | 62.346 | 70.125 | 68.103 | 70.275
Percent Difference to Avg |  |  | 2.997% | -9.014% | 2.738% | -0.1881% | 2.951%
Percent Difference to Reference |  |  | 7.538% | -4.475% | 7.279% | 4.355% | 7.492%